Type of Manuscript:

Research / Review/ Original/ Short Communication/ News / Case Study  		(Select any one)

Title (Times New Roman front 14 Bold)

Simultaneous Spectrophotometric Estimation of Atenolol and Losartan in Tablet Dosage Form

Author (S) (Times New Roman front 11 Bold)

Sagar M. Bhangale*, Vitthal S. Hiwale, Sachin S. Rane, Rajesh Y. Chaudhari, Vijay R. Patil

Author (S) Affiliation (Times New Roman front 10)

Department of Pharmaceutical Chemistry, T.V.E.S.’s Hon. L. M. C. College of Pharmacy, Faizpur- 425 503 Dist-Jalgoan (M.S.) India.

*Corresponding Author E-mail: sagarbhangale92@gmail.com

ABSTRACT: (Times New Roman front 11 Bold Capital)

Content (Times New Roman front 10)

The accurate, precise, sensitive and economical Spectrophotometric method was developed and validated for simultaneous estimation of Atenolol and Losartan in tablet dosage form. The UV method employed was Simultaneous Equation Method. The method employs 274 nm as λ1 and 250 nm as λ2 for formation of equations. Atenolol and Losartan obeys Beer’s law in the concentration range 10-160 μg/mL-1 (r2=0.9959) and 10-160 μg/mL-1 (r2=0.9979).  The mean recovery for Atenolol and Losartan were found to be 100.1±0.3578% and 99.99±0.1852% respectively. The developed method were validated according to ICH guidelines and values of accuracy, precision and other statistical analysis were found to be in good accordance with the prescribed values. Thus the proposed methods were successfully applied for simultaneous determination of Atenolol and Losartan in routine industrial work.

KEYWORDS: (Times New Roman front 11 Bold Capital) Content (Times New Roman front 10 [at least 5 key words])  Atenolol, Losartan, Validation, Simultaneous Equation Method.

INTRODUCTION: (Times New Roman front 11 Bold Capital )

Content (Times New Roman front 10)

Drugs play a vital role in the progress of human civilization by curing diseases. Analytical chemistry is divided into two branches qualitative and quantitative1. Atenolol (ATN) is a β1 receptor specific antagonist, chemically (RS)-4-(2-hydroxy-3-isopropylaminopropoxy) phenylacetamide2, Losartan is (LOS), 2-n-butyl-4-chloro-5-hydroxymethyl-1-[2′-(1H-te-trazol-5-yl)(biphenyl-4-yl)methyl]imidazole, potassium salt3. Atenolol and Losartan combination is used in treatment of hypertension.

Content (Times New Roman front 10) Several methods are available in the literature for the determination of ATN and LOS. Most of these methods are for the determination of ATN and LOS separately or in combination with other drug. Analytical methods reported for quantitative determination of ATN individually in pharmaceutical formulations or biological fluids are HPLC4,5,6 and UV7,8,9. Analytical methods reported for quantitative determination of LOS individually in pharmaceutical formulations or biological fluids are HPLC10,11 and UV12,13. . (Model citation in text )

Atenolol (Times New Roman front 8 Bold)

Losartan (Times New Roman front 8 Bold)

Figure 1 Chemical structure of Atenolol and Losartan 	(Times New Roman front 8 Bold)

MATERIAL AND METHODS: (Times New Roman front 11 Bold Capital )

Chemicals and reagents: (Times New Roman front 10 Bold)

Content (Times New Roman front 10) Atenolol and Losartan potassium were procured from Unichem Laboratories Ltd. (Sikkim). Commercial pharmaceutical preparation Nusar ATN tablets, manufactured by Emcure Pharma. Ltd., containing 50 mg of ATN and 50 mg of LOS was collected from local market. Acetonitrile, methanol and water used were of analytical grade (Qualigens Fine Chemicals, Mumbai, India). A 0.45 µm nylon filter (Pall life Sciences, Mumbai, India) was used. All other chemicals and reagents used were analytical grade unless otherwise indicated.

Instrumentation: (Times New Roman front 10 Bold)

Content (Times New Roman front 10) The proposed work was carried out on a Shimadzu UV-visible spectrophotometer (model UV-1800 series), which possesses a double beam double detector configuration with a1 cm quartz matched cell. All weighing was done on electronic balance (Sansui-vibra DJ-150S-S). A Fast clean ultrasonicate cleaner (India) was used for degassing the mobile phase.

Selection of Solvents: (Times New Roman front 10 Bold)

On the basis of solubility study methanol was selected as the solvent for dissolving ATN and LOS.

Preparation of Standard Stock Solutions of ATN and LOS: (Times New Roman front 10 Bold)

Atenolol Stock Solution: (Times New Roman front 10 Bold)

Content (Times New Roman front 10) An accurately weighed quantity of ATN (50 mg) was taken in 50 mL volumetric flask and dissolved in methanol (20 mL) with the help of ultrasonication for about 10 min. Then the volume was made up to the mark using methanol to get Atenolol standard stock solution (1 mg / mL).

Atenolol Working Standard Solution: (Times New Roman front 10 Bold)

Content (Times New Roman front 10) Atenolol standard stock solution 5 mL was diluted to 50 mL using 77% v/v methanol to get working standard solution 100 µg / mL

Losartan Stock Solution: (Times New Roman front 10 Bold)

Content (Times New Roman front 10) An accurately weighed quantity of LOS (50 mg) was taken in 50 mL volumetric flask and dissolved in methanol (20 mL) with the help of ultrasonication for about 10 min. Then the volume was made up to the mark using methanol to get Losartan standard stock solution (1 mg / mL).

Losartan Working Standard Solution: (Times New Roman front 10 Bold)

Content (Times New Roman front 10) Losartan standard stock solution 5 mL was diluted to 50 mL using 77% v/v methanol to get working standard solution 100 µg / mL

Determination of λ Max of Individual Component: (Times New Roman front 10 Bold)

Content (Times New Roman front 10) An appropriate aliquot portion of ATN (0.8 mL) and LOS (0.2 mL) were transferred to two separate 10 mL volumetric flasks, the volume was made up to the mark using 77 %v/v methanol to obtain ATN (80 µg/mL) and LOS (20 µg/mL). Drug solutions were scanned separately between 200 nm to 400 nm. ATN shows λ max at 274 nm while LOS at 250 nm, respectively (Figure1).

Overlay Spectra of Atenolol and Losartan: (Times New Roman front 10 Bold)

Content (Times New Roman front 10) The overlain spectrum of both drugs was recorded (Fig.1) and two wavelengths 274.0 nm (λ max of ATN) and 250.2 nm (λ max of LOS) were selected for further study.

Fig.1: Overlay Spectra of Atenolol and Losartan (Times New Roman front 8 Bold)

Linearity Study for ATN: (Times New Roman front 10 Bold)

Content (Times New Roman front 10) An accurately measured aliquot portion of working standard solution of ATN was transferred to seven separate 10 mL volumetric flasks. The volume was made up to the mark using 77% v/v methanol to obtain concentrations (10-160 µg/mL). Absorbance of these solutions was measured at 274 nm, (Table1) Calibration curve was plotted, absorbance Vs concentration as shown in (Fig. 2).

Linearity Study for LOS: (Times New Roman front 10 Bold)

Content (Times New Roman front 10) Accurately measured aliquot portions of working standard solution of LOS were transferred to seven separate 10 mL volumetric flasks. The volume was made up to the mark using 77% v/v methanol to obtain concentrations (10-160 µg/mL). Absorbance of these solutions was measured at 250 nm, (Table 1). Calibration curve was plotted, absorbance Vs concentration as shown in (Fig. 3).

Table 1: Regression and Optical characteristics of ATN and LOS (Times New Roman front 8 Bold) Content (Times New Roman front 8 with Grid lines & left alignment)

| Parameters | Value For ATN | Value For LOS |
| --- | --- | --- |
| Beer’s law limit (µg/mL) | 10-160 | 10-160 |
| Correlation Coefficient (r) | 0.995 | 0.997 |
| Regression equation |
| Slope | 0.005 | 0.026 |
| Intercept | 0.011 | 0.057 |

Fig. 2: Calibration Curve of Atenalol at 274 nm Wavelength

Fig. 3: Calibration Curve of LOS at 250 nm Wavelength

Estimation of Laboratory Mixture by Proposed Method: (Times New Roman front 10 Bold)

Content (Times New Roman front 10) In order to see the feasibility of proposed method for simultaneous estimation of ATN and LOS in marketed pharmaceutical formulations, the method was first tried for estimation of drugs in standard laboratory mixture. Accurately weighed ATN (50 mg) and  LOS (50 mg) were taken in 100 mL volumetric flask, dissolved in methanol (60 mL) with the help of ultrasonication for about 10 min and the volume was made up to mark using the same. Appropriate aliquot portion (1 mL) was transferred to 10 mL volumetric flask and further diluted using 77% v/v methanol to get ATN (50 (g/ mL) and LOS (50 (g/ mL). The absorbance was recorded at 274 nm and 250 nm against solvent as blank.

Amount of each drug was estimated using following equations,

A2 × ay1 - A1 × ay2

Cx   =

ax2 ay1 – ax1 ay2

A1 × ax2- A2× ax1

Cy   =

ax2 ay1 – ax1 ay2

Where;

A1 and A2 are the absorbance of diluted mixture at λ1 and λ2

Cx and Cy are the concentration of X and Y respectively

ax1 and ax2 are absorptivities of X at λ1 and λ2 respectively

ay1 and ay2 are absorptivities of Y at λ1 and λ2 respectively

The results are reported in (Table 2).

Table 2: Results of Estimation of Atenolol and Losartan Standard Laboratory Mixture. (Times New Roman front 8 Bold) Content (Times New Roman front 8 with Grid lines & left alignment)

| Analyte | % Concentration estimated (Mean ±S.D.) | %R.S.D. |
| --- | --- | --- |
| ATN | 99.63 ± 0.15270 | 0.153264 |
| LOS | 99.84 ± 0.39820 | 0.398815 |

*Average of five determinations; R.S.D. = Relative Standard Deviation

Application of the Proposed Method for Estimation of Drugs in Tablets: (Times New Roman front 10 Bold)

Content (Times New Roman front 10) Twenty ‘Nusar-ATN’ Tablets containing ATN (50 mg) and LOS (50 mg) were weighed and ground to fine powder. A quantity of sample equivalent to ATN (50 mg) and LOS (50 mg) was transferred into 100 mL volumetric flask containing methanol (60 mL), sonicated for 15 min and the volume was made up to the mark and filtered through Whatman filter paper (No. 45). This solution was (1 mL) transferred to 10 mL volumetric flaks, dissolved and volume was adjusted to the mark. The absorbance of the solutions was measured at 274 nm and 250 nm against blank. The concentrations of two drugs in sample were determined by using simultaneous equations.  The results are reported in the (Table 3).

Table 3: Results of Estimation of Atenolol and Losartan in Tablets. (Times New Roman front 8 Bold) Content (Times New Roman front 8 with Grid lines & left alignment)

| Analyte | Label claim (mg/tab) | % Label claim estimated (Mean ±S.D.) | %R.S.D. |
| --- | --- | --- | --- |
| ATN | 50 | 99.94 ± 0.676225 | 0.676604 |
| LOS | 50 | 100.12 ± 0.863018 | 0.869922 |

*Average of five determinations; S.D. =Standard Deviation

Validation of Proposed Method: (Times New Roman front 10 Bold)

The Proposed method was validated as per the ICH guidelines.

Accuracy [Recovery Study]: (Times New Roman front 10 Bold)

Content (Times New Roman front 10) Accuracy of proposed method was ascertained on the basis of recovery study performed by standard addition method. A known amount of standard drug solutions were added to the tablet powder to make final concentrations in the range of 80%, 100% and 120% and re-analyzed it by the proposed method. The absorbance recorded and the % recoveries were calculated using formula. % Recovery = [A - B/ C] X 100

Where,

A = Total amount of drug estimated

B = Amount of drug found on preanalysed basis

C = Amount of Pure drug added

The results are reported in (Table 4).

Table 4: Recovery Study. (Times New Roman front 8 Bold) Content (Times New Roman front 8 with Grid lines & left alignment)

| Drug in mixture solution (µg/mL) | %Recovery ± S.D. |
| --- | --- |
| ATN | LOS | ATN | LOS |
| 40.02 | 40.01 | 100.06±0.017 | 99.98±0.043 |
| 50.10 | 50.00 | 99.65±0.069 | 100±0.063 |
| 60.05 | 59.98 | 99.99±0.025 | 100.01±0.056 |

S.D. =Standard Deviation

Precision: (Times New Roman front 10 Bold)

Content (Times New Roman front 10) Precision was determined as intra-day and inter-day variations. Intra-day precision was determined by analyzing ATN (19.2, 25.6, and 32 µg/mL) and LOS (19.2, 25.6, and 32 µg/mL) for three times on the same day. Inter-day precision was determined by analyzing the same concentration of solutions for three different days over a period of week. The results are reported in (Table 5).

Table 5: Precision Study. (Times New Roman front 8 Bold) Content (Times New Roman front 8 with Grid lines & left alignment)

| Precision | Atenolol | %R.S.D. | Losartan | %R.S.D. |
| --- | --- | --- | --- | --- |
| Interday, n = 3 | 99.25 ±0.2316 | ±0.298 | 99.97 ± 0.2643 | ±0.2356 |
| Intraday, n = 3 | 99.01 ±0.1520 | ±0.1591 | 99.20 ± 0.3516 | ±0.3271 |

RSD = Relative standard deviation

Table 6: Ruggedness Study. (Times New Roman front 8 Bold) Content (Times New Roman front 8 with Grid lines & left alignment)

|  | ATN 50 µg/mL | LOS 50 µg/mL |
| --- | --- | --- |
|  | Amount Found in µg/mL Mean  S.D. (n = 3) | % R.S.D. | Amount Found in µg/mL Mean  S.D.(n = 3) | % R.S.D. |
| Analyst-I | 50.17  0.7549 | 0.7879 | 50.41  0.2645 | 0.2104 |
| Analyst-II | 50.98  0.1892 | 0.1732 | 50.57  0.6658 | 0.6296 |
| Day-I | 50.91  0.3294 | 0.3824 | 50.32  0.1953 | 0.1559 |
| Day-II | 49.96  0.9470 | 0.9369 | 49.88  0.8911 | 0.8140 |

Ruggedness: (Times New Roman front 10 Bold)

Content (Times New Roman front 10) Ruggedness of the proposed method was determined by analysis of aliquots from homogenous slot by two different analyst using same operational and environmental conditions. The results are reported in (Table 6).

LOD: (Times New Roman front 10 Bold)

Content (Times New Roman front 10) Limit of detection of Atenolol and Losartan were found to be 0.00407 μg/mL and 0.00913 μg/mL respectively.

LOQ: (Times New Roman front 10 Bold)

Content (Times New Roman front 10) Limit of Quantitation of Atenolol and Losartan were found to be 0.01233 μg/mL and 0.02769 μg/mL respectively.

ACKNOWLEDGEMENT:  (Times New Roman front 11 Bold Capital)

The authors are grateful to the authorities of T.V.E.S.’s Hon. L. M. C. College of Pharmacy, Faizpur for the facilities.

CONFLICT OF INTEREST: (Times New Roman front 11 Bold Capital)

The authors declare no conflict of interest.

REFERENCES: (Times New Roman front 11 Bold Capital)

Content (Times New Roman front 8)

- Jeffery GH. Bassett J. Mandham J. and. Denny RC. Editors. Vogel’s Text Book of Quantitative Chemical Analysis, Longman Scientific and Technical Pub U.K. 1994; 5th ed: pp. 3-4.

- Gaur R. Azizi M. Gan J. Hansal P. and. Harper K. Editors. British Pharmacopoeia. London: Medicines and Healthcare products Regulatory Agency (MHRA). 1988; pp. 49, 903.

- Indian Pharmacopoeia. Govt. of India Vol-I. Ghaziabad: Ministry of Health and Family Welfare, Published by The Indian Pharmacopoeia Commission. 2007; pp. 1319-1320.

- Bhusari VK, Dhaneshwar SR. Validated HPTLC Method for Simultaneous Estimation of Atenolol, Hydrochlorothiazide and Amlodipine Besylate in Bulk Drug and Formulation. International Journal of Analytical and Bioanalytical Chemistry. 2011; 1(3): 70-76. (Model Journal reference)

- Chheta N, Gandhi SP, Rajput SJ. Development and Validation of a Stability indicating High Performance Liquid Chromatographic (HPLC) Method for Atenolol and Hydrochlorthiazide in Bulk Drug and Tablet Formulation. International Journal of ChemTech Research. 2009; 1(3):  654-662.

- Krishna R, Gupta A, Wadodkar R, Wadodkar SG. Validated Reverse Phase HPLC Method for Simultaneous Estimation of Atorvastatin and Atenolol in Tablets. Der Pharmacia Lettre.  2011; 3(4): 393-403.

- Jaina N, Jaina R, Thakura N, Jaina S and Jain DK. Simultaneous Spectrophotometric Estimation of Lercanidipine Hydrochloride and Atenolol in Tablet Dosage Form. Eurasian Journal of Analytical Chemistry. 2011; 6(2): 84-90.

- Lalitha G, Salomi PRRK. Development of an Analytical Method and Its Validation for The Analysis of Atenolol in Tablet Dosage form by Uv- Spectrophotometry. International Journal of Pharmacy and Pharmaceutical Sciences. 2009;  5(2): 197-199.

- Dey S, Sarkar S, Malakar J, Ghosh A, Gangopadhyay A, Mazumder B. Spectrophotometric Method for Simultaneous Determination of Atenolol and Atorvastatin in tablet dosage forms. International Journal of Pharmaceutical and Biomedical Research. 2012; 3: 40-43.

- Kirtawade RR, Salve PL, Kulkarni AS, Dhabale PN. RP-HPLC Method for Simultaneous Estimation of Losartan Potassium and Atenolol in Tablet formulation. International Journal of Pharmaceutical Science. 2010; 1(2): 50-54.

- Freddy H, Dharmendra V. Simultaneous estimation of Atenolol, Hydrochlorothiazide, Losartan and Valsartan in the Pharmaceutical Dosage Form. International Journal of Pharmacy and Life Sciences. 2010; 1(5): 282-289.

- Rao PLKM, Venugopal V, Kumar A, Rajesh B, Gal P, Goud R. Quantitative Estimation of Losartan Potassium in Pharmaceutical Dosage Forms by UV-Spectrophotometry. International Journal of Research on Pharmacy and Chemistry. 2011: 1(3): 432.

- Bonfilio R, Favoretto LB, Pereira GR, Cássia RD. Comparative study of analytical methods by direct and first derivative UV-Spectrophotometry for evaluation of Losartan potassium in capsules. Brazilian Journal of Pharmaceutical Sciences. 2010; 46: 1-2.